## Sheet1
Step No | Action | LocateBy | OR Locator | Input Data | Description | Expected Results | Reference Step
1 | Gem25Login |  |  |  | Login into the Gem25 | Gem25 Should be logged
2 | WaitTime |  |  | 3 | Wait until the page gets load | Should Wait until the page gets load
3 | VerifyElementIsPresent | ByName | CONFIGURATION |  | Verify Configurations menu | Configurations menu is verified successfully
4 | Click | ByName | CONFIGURATION |  | Click on Configurations menu | Configurations menu should be clicked
5 | Wait |  |  | 1 | Wait | Waiting is done successfully
6 | VerifyElementIsPresent | ByName | ALARM_CONFIGURATION |  | Verify Alarm Configurations | Alarm Configurations is verified successfully
7 | Click | ByName | ALARM_CONFIGURATION |  | Click on Alarm Configurations | Alarm Configurations should be clicked
8 | ExecuteSSHCommands |  |  | writeRtuTable 8 498 500 | Execute Shell Scrip command | Shell script command is executed
9 | Wait |  |  | 2 | Wait | Waiting is done successfully
10 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
11 | GetWindowHandle | ByID | ADD_ALARM_BUTTON |  | Click on Add Alarm button | Add Alarm button should be clicked
12 | Click | ByID | SINGLE_ALARM_RADIO_BUTTON |  | Click on Single alarm radio button | Single alarm radio button should be clicked
13 | Click | ByID | ADD_ALARM_OK_BUTTON |  | Click on Alarm OK button | Alarm OK button should be clicked
14 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
15 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
16 | Wait |  |  | 2 | Wait | Waiting is done successfully
17 | TypeDynamicMinimumValue | ByID | ALARM_ALIAS_NAME | Alarm Hold Unit16 | Type alarm name | alarm name should be typed
18 | TypeDynamicMinimumValue | ByID | ALARM_DESCRIPTION | Alarm Hold Unit16 | Type alarm description | alarm description should be typed
19 | SelectByVisibleText | ByID | ALARM_LOG_LEVEL | Info | Select log level | log level should be selected
20 | Wait |  |  | 1 | Wait | Waiting is done successfully
21 | SelectByValue | ByID | ALARM_SOURCE | Modbus RTU | Select alarm source | alarm source should be selected
22 | Wait |  |  | 2 | Wait | Waiting is done successfully
23 | SelectByValue | ByID | ALARM_MOBUS_NAME | MODBUS_1 | Select Modbus device | Modbus device should be selected
24 | Wait |  |  | 2 | Wait | Waiting is done successfully
25 | SelectByValue | ByID | ALARM_MODBUS_REGISTER_ADDRESS | RTU-1-Hold_Uint16_Reg-498 | Select modbus register | modbus register should be selected
26 | Wait |  |  | 2 | Wait | Waiting is done successfully
27 | Click | ByID | ALARM_CONDITION_LESS_THAN |  | Click alarm condition Less Than | alarm condition less than radio button Should be successfully clicked
28 | Wait |  |  | 2 | Wait | Waiting is done successfully
29 | Type | ByID | ALARM_TRIGGERED_ON_TIME | 0 | Type triggered on time | triggered on time should be typed
30 | Type | ByID | ALARM_TRIGGERED_OFF_TIME | 0 | Type triggered off time | triggered off time should be typed
31 | Type | ByID | ALARM_PARAMETER_TRIGGERED_HYSTERESIS | 0 | Type Hysteresis value | Hysteresis value should be typed
32 | Type | ByID | ALARM_PARAMETER_TRIGGERED_RTU_VALUE | 80 | Type Modbus RTU value | Modbus RTU value should be typed
33 | SelectByVisibleText | ByID | ALARM_ACTION | No Action | Select Alarm action | Alarm action should be selected
34 | Wait |  |  | 1 | Wait | Waiting is done successfully
35 | Click | ByID | ENABLE_SMS |  | Click SMS checkbox | SMS checkbox Should be successfully clicked
36 | Click | ByID | ENABLE_EMAIL |  | Click Email checkbox | Email checkbox Should be successfully clicked
37 | Click | ByID | ENABLE_SNMP |  | Click SNMP checkbox | SNMP checkbox Should be successfully clicked
38 | Wait |  |  | 1 | Wait | Waiting is done successfully
39 | Click | ByID | ALARM_SAVE_BUTTON |  | Click Alarm save button | Alarm save button button Should be successfully clicked
40 | Wait |  |  | 3 | Wait | Waiting is done successfully
41 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
42 | Click | ByID | ALARM_BACK_TO_SUMMARY_LINK |  | Click Back to summary link | Back to summary link Should be successfully clicked
43 | Wait |  |  | 2 | Wait | Waiting is done successfully
44 | EnableAlarm |  |  |  | Alarm is Enabled | Alarm should be enabled | 17
45 | Wait |  |  | 3 | Wait | Waiting is done successfully
46 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
47 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
48 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
49 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
50 | Wait |  |  | 1 | Wait | Waiting is done successfully
51 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
52 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
53 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
54 | Wait |  |  | 1 | Wait | Waiting is done successfully
55 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
56 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 17
57 | GetText | MergeByXpath | DASHBOARD_ALARM_NOT_TRIGGERED_STATUS,DASHBOARD_ALARM_NOT_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 17
58 | ExecuteSSHCommands |  |  | writeRtuTable 8 498 1000 | Execute Shell Scrip command | Shell script command is executed
59 | Wait |  |  | 2 | Wait | Waiting is done successfully
60 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
61 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
62 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
63 | Wait |  |  | 1 | Wait | Waiting is done successfully
64 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
65 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
66 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
67 | Wait |  |  | 1 | Wait | Waiting is done successfully
68 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
69 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 17
70 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 17
71 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Enabled date/Time | Alarm status page Enabled Date/Time should be retrieved | 17
72 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 17
73 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page alarm status | Alarm status page alarm status should be retrieved | 17
74 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page triggered details | Alarm status page triggered details should be retrieved | 17
75 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 17
76 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 17
77 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_STATUS,DASHBOARD_ALARM_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 17
78 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
79 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
80 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
81 | Wait |  |  | 2 | Wait | Waiting is done successfully
82 | Click | ByName | LOG_VALUES_SUBMENU |  | Click on Log Values sub menu | Log Values sub menu should be clicked
83 | Wait |  |  | 1 | Wait | Waiting is done successfully
84 | Click | ByName | ALARM_LOGS_SUBMENU |  | Click on Alarm Logs menu | Alarm Logs menu should be clicked
85 | Wait |  |  | 2 | Wait | Waiting is done successfully
86 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
87 | GetWindowHandle | ByID | ALARM_START_DATE_BUTTON |  | Click on Start date button | Start date button should be clicked
88 | ClearAndType | ByName | ALARM_START_DATE_HOUR | 01 | Type hour | Hour should be typed
89 | ClearAndType | ByName | ALARM_START_DATE_MINUTES | 00 | Type Minute | Minute should be typed
90 | ClearAndType | ByName | ALARM_START_DATE_SECONDS | 00 | Type Seconds | Seconds should be typed
91 | Wait |  |  | 2 | Wait | Waiting is done successfully
92 | Click | ByXPath | ALARM_START_DATE |  | Click on Start date | Start date should be clicked
93 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
94 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
95 | GetWindowHandle | ByID | ALARM_END_DATE_BUTTON |  | Click on End date button | End date button should be clicked
96 | Wait |  |  | 2 | Wait | Waiting is done successfully
97 | Click | ByXPath | ALARM_END_DATE |  | Click on End date | End date should be clicked
98 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
99 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
100 | Wait |  |  | 1 | Wait | Waiting is done successfully
101 | SelectByVisibleText | ByID | ALARM_LOGS_PAGE_ALIAS_NAME |  | Select alias name | Alias name should be selected | 17
102 | Wait |  |  | 2 | Wait | Waiting is done successfully
103 | Click | ByID | ALARM_LOG_FETCH_BUTTON |  | Click on Alarm log fetch button | Alarm log fetch button should be clicked
104 | WaitForAlarmLogs |  |  |  | Should display alarm logs | Alarm logs should be displayed
105 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
106 | WaitUntilInvisibilityOfElement | Xpath | ALARM_PAGE_LOADING_ICON |  | Wait for Loading icon | Loading icon should be invisibled
107 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
108 | Wait |  |  | 2 | Wait | Waiting is done successfully
109 | AlarmLogsLoggedDateTime |  |  |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
110 | AlarmLogsLoggedDescription |  |  |  | Retrieve Alarm Logs Description | Alarm Logs Description should be retrieved
111 | Wait |  |  | 1 | Wait | Waiting is done successfully
112 | VerifyAlarmLogs |  |  |  | Should verify alarm logs | Alarm Logs should be verified | 74,109,110
113 | Wait |  |  | 1 | Wait | Waiting is done successfully
114 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
115 | Click | ByID | LOGOUT |  | Click on Logout Button | Logout Button should be clicked

## DataList
LocateBy | GetUrl
ByID | NavigateToURL
ByName | Wait
ByOrName | WaitTime
ByXPath | Maximize
ByLinkText | Click
ByTagName | ActionClick
ByClassName | JsClick | Normal Xpath
ByCssSelector | DoubleClick
ByPartialLinkText | ClickAt
MergeByXpath | ClickAndHold
MergeXpath | Clear
Xpath | Type
ClearAndType
ActionType
TypeDynamicValue
Submit
MouseOver
MouseOverAndClick
GetText
GetAttribute
| GetCount | Normal Xpath
GetCurrentURL
SelectCheckBox
SelectByIndex
SelectByValue
SelectByVisibleText
DeSelectCheckBox
DeSelectByIndex
DeSelectByValue
DeSelectByVisibleText
SwitchFrameByName
SwitchFrameByIndex
SwitchFrameByXpath
SwitchFrame
SwitchToDefaultFrame
Refresh
Back
Forward
AlertOk
DismissAlert
AlertDismiss
PromptBox
GenerateAlert
Close
GetWindowHandle
SwitchToDefaultWindow
SwitchToDefaultContent
GetAutoIt
ScrollDown
ScrollUp
ScrollBottom
KeyboardPageUp
KeyboardPageDown
KeyboardEnd
KeyboardTab
PageMaximize
Enter
KeyboardArrowUp
KeyboardArrowDown
KeyboardArrowLeft
KeyboardArrowRight
Drag
Drop
VerifyElementIsSelected
VerifyElementIsPresent
VerifyElementIsNotPresent
VerifyElementIsEnable
WaitUntilVisibilityOfElement
| WaitUntilInvisibilityOfElement | Normal Xpath
VerifyTextIsPresent
| WaitUntilTextToBeNotPresent | Normal Xpath
WaitUntilTextToBePresent
WaitUntilElementToBeClickable
WaitUntilElementToBeSelected
TextToBePresentInElementValue
| WaitForElementPresent | Normal Xpath
| WaitForElementNotPresent | Normal Xpath
CheckTwoString
DeleteAllCookies
TakeScreeShot
Highlight
NewTab
CloseTab