## Sheet1
Step No | Action | LocateBy | OR Locator | Input Data | Description | Expected Results | Reference Step
1 | Gem25Login |  |  |  | Login into the Gem25 | Gem25 Should be logged
2 | WaitTime |  |  | 3 | Wait until the page gets load | Should Wait until the page gets load
3 | VerifyElementIsPresent | ByName | CONFIGURATION |  | Verify Configurations menu | Configurations menu is verified successfully
4 | Click | ByName | CONFIGURATION |  | Click on Configurations menu | Configurations menu should be clicked
5 | Wait |  |  | 1 | Wait | Waiting is done successfully
6 | VerifyElementIsPresent | ByName | ALARM_CONFIGURATION |  | Verify Alarm Configurations | Alarm Configurations is verified successfully
7 | Click | ByName | ALARM_CONFIGURATION |  | Click on Alarm Configurations | Alarm Configurations should be clicked
8 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 -410 | Execute Shell Scrip command | Shell script command is executed
9 | Wait |  |  | 2 | Wait | Waiting is done successfully
10 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
11 | VerifyElementIsPresent | ByName | ALARM_SUMMARY_PAGE_TITLE |  | Verify Alarm Summary Page title | Alarm Summary Page title is verified successfully
12 | GetWindowHandle | ByID | ADD_ALARM_BUTTON |  | Click on Add Alarm button | Add Alarm button should be clicked
13 | Click | ByID | SINGLE_ALARM_RADIO_BUTTON |  | Click on Single alarm radio button | Single alarm radio button should be clicked
14 | GetText | ByName | SINGLE_ALARM_LABLE |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
15 | Click | ByID | ADD_ALARM_OK_BUTTON |  | Click on Alarm OK button | Alarm OK button should be clicked
16 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
17 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
18 | Wait |  |  | 2 | Wait | Waiting is done successfully
19 | TypeDynamicMinimumValue | ByID | ALARM_ALIAS_NAME | Histere Input Int16 | Type alarm name | alarm name should be typed
20 | TypeDynamicMinimumValue | ByID | ALARM_DESCRIPTION | Histere Input Int16 | Type alarm description | alarm description should be typed
21 | SelectByVisibleText | ByID | ALARM_LOG_LEVEL | Critical | Select log level | log level should be selected
22 | Wait |  |  | 1 | Wait | Waiting is done successfully
23 | SelectByValue | ByID | ALARM_SOURCE | Modbus RTU | Select alarm source | alarm source should be selected
24 | Wait |  |  | 2 | Wait | Waiting is done successfully
25 | SelectByValue | ByID | ALARM_MOBUS_NAME | MODBUS_1 | Select Modbus device | Modbus device should be selected
26 | Wait |  |  | 2 | Wait | Waiting is done successfully
27 | SelectByValue | ByID | ALARM_MODBUS_REGISTER_ADDRESS | RTU-1-Input_Int16_Reg-373 | Select modbus register | modbus register should be selected
28 | Wait |  |  | 2 | Wait | Waiting is done successfully
29 | Click | ByID | ALARM_CONDITION_GREATER_THAN |  | Click alarm condition Greater Than | Alarm condition Greater than radio button Should be successfully clicked
30 | Wait |  |  | 2 | Wait | Waiting is done successfully
31 | Type | ByID | ALARM_TRIGGERED_ON_TIME | 0 | Type triggered on time | triggered on time should be typed
32 | Type | ByID | ALARM_TRIGGERED_OFF_TIME | 0 | Type triggered off time | triggered off time should be typed
33 | Type | ByID | ALARM_PARAMETER_TRIGGERED_HYSTERESIS | 10 | Type Hysteresis value | Hysteresis value should be typed
34 | Type | ByID | ALARM_PARAMETER_TRIGGERED_RTU_VALUE | -30 | Type Modbus RTU value | Modbus RTU value should be typed
35 | SelectByVisibleText | ByID | ALARM_ACTION | Digital Output | Select Alarm action | Alarm action should be selected
36 | Wait |  |  | 2 | Wait | Waiting is done successfully
37 | SelectByValue | ByID | ALARM_ACTION_ALIAS_NAME | Digital Output 4 | Select Alarm action device | Alarm action device should be selected
38 | Wait |  |  | 2 | Wait | Waiting is done successfully
39 | GetText | ByID | ALARM_ACTION_ALIAS_NAME_VALUE |  | Retrieve Alarm actions value | Alarm actions value should be retrieved
40 | Wait |  |  | 1 | Wait | Waiting is done successfully
41 | Click | ByID | ENABLE_SMS |  | Click SMS checkbox | SMS checkbox Should be successfully clicked
42 | Click | ByID | ENABLE_EMAIL |  | Click Email checkbox | Email checkbox Should be successfully clicked
43 | Click | ByID | ENABLE_SNMP |  | Click SNMP checkbox | SNMP checkbox Should be successfully clicked
44 | Wait |  |  | 1 | Wait | Waiting is done successfully
45 | Click | ByID | ALARM_SAVE_BUTTON |  | Click Alarm save button | Alarm save button button Should be successfully clicked
46 | Wait |  |  | 3 | Wait | Waiting is done successfully
47 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
48 | Click | ByID | ALARM_BACK_TO_SUMMARY_LINK |  | Click Back to summary link | Back to summary link Should be successfully clicked
49 | Wait |  |  | 2 | Wait | Waiting is done successfully
50 | EnableAlarm |  |  |  | Alarm is Enabled | Alarm should be enabled | 19
51 | Wait |  |  | 3 | Wait | Waiting is done successfully
52 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
53 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
54 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
55 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
56 | Wait |  |  | 1 | Wait | Waiting is done successfully
57 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
58 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
59 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
60 | Wait |  |  | 1 | Wait | Waiting is done successfully
61 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
62 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
63 | GetText | MergeByXpath | DASHBOARD_ALARM_NOT_TRIGGERED_STATUS,DASHBOARD_ALARM_NOT_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
64 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
65 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 -280 | Execute Shell Scrip command | Shell script command is executed
66 | Wait |  |  | 2 | Wait | Waiting is done successfully
67 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
68 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
69 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
70 | Wait |  |  | 1 | Wait | Waiting is done successfully
71 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
72 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
73 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
74 | Wait |  |  | 1 | Wait | Waiting is done successfully
75 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
76 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
77 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 19
78 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Enabled date/Time | Alarm status page Enabled Date/Time should be retrieved | 19
79 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 19
80 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page alarm status | Alarm status page alarm status should be retrieved | 19
81 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page triggered details | Alarm status page triggered details should be retrieved | 19
82 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 19
83 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
84 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_STATUS,DASHBOARD_ALARM_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
85 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
86 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
87 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
88 | Wait |  |  | 1 | Wait | Waiting is done successfully
89 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
90 | Wait |  |  | 2 | Wait | Waiting is done successfully
91 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
92 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
93 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
94 | Wait |  |  | 2 | Wait | Waiting is done successfully
95 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_1 |  | Verify Digital Output After drive status | Digital Output After drive status is verified successfully | 37
96 | GetText | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_1 |  | Retrieve Digital Output After drive status | Digital Output After drive status should be retrieved | 37
97 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Verify Digital Output After drive Button | Digital Output After drive Button is verified successfully | 37
98 | GetText | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Retrieve Digital Output After drive Button | Digital Output After drive Button should be retrieved | 37
99 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
100 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 -350 | Execute Shell Scrip command | Shell script command is executed
101 | Wait |  |  | 2 | Wait | Waiting is done successfully
102 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
103 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
104 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
105 | Wait |  |  | 1 | Wait | Waiting is done successfully
106 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
107 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
108 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
109 | Wait |  |  | 1 | Wait | Waiting is done successfully
110 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
111 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
112 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 19
113 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Enabled date/Time | Alarm status page Enabled Date/Time should be retrieved | 19
114 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 19
115 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page alarm status | Alarm status page alarm status should be retrieved | 19
116 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page triggered details | Alarm status page triggered details should be retrieved | 19
117 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 19
118 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
119 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_STATUS,DASHBOARD_ALARM_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
120 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
121 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
122 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
123 | Wait |  |  | 1 | Wait | Waiting is done successfully
124 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
125 | Wait |  |  | 2 | Wait | Waiting is done successfully
126 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
127 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
128 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
129 | Wait |  |  | 2 | Wait | Waiting is done successfully
130 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_1 |  | Verify Digital Output After drive status | Digital Output After drive status is verified successfully | 37
131 | GetText | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_1 |  | Retrieve Digital Output After drive status | Digital Output After drive status should be retrieved | 37
132 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Verify Digital Output After drive Button | Digital Output After drive Button is verified successfully | 37
133 | GetText | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_DIGITAL_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Retrieve Digital Output After drive Button | Digital Output After drive Button should be retrieved | 37
134 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
135 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 -390 | Execute Shell Scrip command | Shell script command is executed
136 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
137 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
138 | Wait |  |  | 1 | Wait | Waiting is done successfully
139 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
140 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
141 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
142 | Wait |  |  | 1 | Wait | Waiting is done successfully
143 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
144 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
145 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_STATUS,DASHBOARD_ALARM_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
146 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page triggered details | Alarm status page triggered details should be retrieved | 19
147 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
148 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 -420 | Execute Shell Scrip command | Shell script command is executed
149 | Wait |  |  | 2 | Wait | Waiting is done successfully
150 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
151 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
152 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
153 | Wait |  |  | 1 | Wait | Waiting is done successfully
154 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
155 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
156 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
157 | Wait |  |  | 1 | Wait | Waiting is done successfully
158 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
159 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
160 | GetText | MergeByXpath | DASHBOARD_ALARM_NOT_TRIGGERED_STATUS,DASHBOARD_ALARM_NOT_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page Reversed alarm off time | Alarm status page Reversed alarm off time should be retrieved | 19
161 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 19
162 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Reversed Enabled date/Time | Alarm status page Reversed Enabled Date/Time should be retrieved | 19
163 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 19
164 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page Reversed alarm status | Alarm status page Reversed alarm status should be retrieved | 19
165 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page Triggered Empty | Alarm status page Triggered Empty details should be retrieved | 19
166 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 19
167 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
168 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
169 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
170 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
171 | Wait |  |  | 1 | Wait | Waiting is done successfully
172 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
173 | Wait |  |  | 2 | Wait | Waiting is done successfully
174 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
175 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
176 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
177 | Wait |  |  | 2 | Wait | Waiting is done successfully
178 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION_1 |  | Verify Digital Output After Reversed status | Digital Output After Reversed status is verified successfully | 37
179 | GetText | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION_1 |  | Retrieve Digital Output After Reversed status | Digital Output After Reversed status should be retrieved | 37
180 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Verify Digital Output After Reversed Button | Digital Output After Reversed Button is verified successfully | 37
181 | GetText | MergeByXpath | INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_DIGITAL_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Retrieve Digital Output After Reversed Button | Digital Output After Reversed Button should be retrieved | 37
182 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched

## DataList
LocateBy | GetUrl
ByID | NavigateToURL
ByName | Wait
ByOrName | WaitTime
ByXPath | Maximize
ByLinkText | Click
ByTagName | ActionClick
ByClassName | JsClick | Normal Xpath
ByCssSelector | DoubleClick
ByPartialLinkText | ClickAt
MergeByXpath | ClickAndHold
MergeXpath | Clear
Xpath | Type
MergeBy2Xpath | ClearAndType
ActionType
TypeDynamicValue
Submit
MouseOver
MouseOverAndClick
GetText
GetAttribute
| GetCount | Normal Xpath
GetCurrentURL
SelectCheckBox
SelectByIndex
SelectByValue
SelectByVisibleText
DeSelectCheckBox
DeSelectByIndex
DeSelectByValue
DeSelectByVisibleText
SwitchFrameByName
SwitchFrameByIndex
SwitchFrameByXpath
SwitchFrame
SwitchToDefaultFrame
Refresh
Back
Forward
AlertOk
DismissAlert
AlertDismiss
PromptBox
GenerateAlert
Close
GetWindowHandle
SwitchToDefaultWindow
SwitchToDefaultContent
GetAutoIt
ScrollDown
ScrollUp
ScrollBottom
KeyboardPageUp
KeyboardPageDown
KeyboardEnd
KeyboardTab
PageMaximize
Enter
KeyboardArrowUp
KeyboardArrowDown
KeyboardArrowLeft
KeyboardArrowRight
Drag
Drop
VerifyElementIsSelected
VerifyElementIsPresent
VerifyElementIsNotPresent
VerifyElementIsEnable
WaitUntilVisibilityOfElement
| WaitUntilInvisibilityOfElement | Normal Xpath
VerifyTextIsPresent
| WaitUntilTextToBeNotPresent | Normal Xpath
WaitUntilTextToBePresent
WaitUntilElementToBeClickable
WaitUntilElementToBeSelected
TextToBePresentInElementValue
| WaitForElementPresent | Normal Xpath
| WaitForElementNotPresent | Normal Xpath
CheckTwoString
DeleteAllCookies
TakeScreeShot
Highlight
NewTab
CloseTab
Gem25Login
EnableAlarm
VerifyDashboardAlarm
AlertAccept
ExecuteSSHCommands
AlarmLogsLoggedDateTime
AlarmLogsLoggedDescription
VerifyAlarmLogs
WaitForAlarmLogs
ExecuteGem25BoardsshCommands
DisableAlarm
EditAlarm
VerifyAlarmLoggedDateTime
SelectDashboardAlarm
LogCount