## Sheet1
Step No | Action | LocateBy | OR Locator | Input Data | Description | Expected Results | Reference Step
1 | Gem25Login |  |  |  | Login into the Gem25 | Gem25 Should be logged
2 | WaitTime |  |  | 3 | Wait until the page gets load | Should Wait until the page gets load
3 | VerifyElementIsPresent | ByName | CONFIGURATION |  | Verify Configurations menu | Configurations menu is verified successfully
4 | Click | ByName | CONFIGURATION |  | Click on Configurations menu | Configurations menu should be clicked
5 | Wait |  |  | 1 | Wait | Waiting is done successfully
6 | VerifyElementIsPresent | ByName | ALARM_CONFIGURATION |  | Verify Alarm Configurations | Alarm Configurations is verified successfully
7 | Click | ByName | ALARM_CONFIGURATION |  | Click on Alarm Configurations | Alarm Configurations should be clicked
8 | Wait |  |  | 2 | Wait | Waiting is done successfully
9 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
10 | VerifyElementIsPresent | ByName | ALARM_SUMMARY_PAGE_TITLE |  | Verify Alarm Summary Page title | Alarm Summary Page title is verified successfully
11 | GetWindowHandle | ByID | ADD_ALARM_BUTTON |  | Click on Add Alarm button | Add Alarm button should be clicked
12 | Click | ByID | SINGLE_ALARM_RADIO_BUTTON |  | Click on Single alarm radio button | Single alarm radio button should be clicked
13 | GetText | ByName | SINGLE_ALARM_LABLE |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
14 | Click | ByID | ADD_ALARM_OK_BUTTON |  | Click on Alarm OK button | Alarm OK button should be clicked
15 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
16 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
17 | Wait |  |  | 2 | Wait | Waiting is done successfully
18 | TypeDynamicMinimumValue | ByID | ALARM_ALIAS_NAME | Alarm-IEC-RO | Type alarm name | alarm name should be typed
19 | TypeDynamicMinimumValue | ByID | ALARM_DESCRIPTION | Alarm-IEC-RO | Type alarm description | alarm description should be typed
20 | SelectByVisibleText | ByID | ALARM_LOG_LEVEL | Critical | Select log level | log level should be selected
21 | Wait |  |  | 1 | Wait | Waiting is done successfully
22 | SelectByValue | ByID | ALARM_SOURCE | Metering Device | Select alarm source | alarm source should be selected
23 | Wait |  |  | 2 | Wait | Waiting is done successfully
24 | SelectByValue | ByID | ALARM_SOURCE_INPUT_CHANNEL | AEL | Select Meter device | Meter device should be selected
25 | Wait |  |  | 1 | Wait | Waiting is done successfully
26 | SelectByVisibleText | ByID | ALARM_METER_NAME | METER | Select Meter Name | Meter Name should be selected
27 | Wait |  |  | 1 | Wait | Waiting is done successfully
28 | SelectByValue | ByID | OBIS_NAME | Kohler_L1-Phase voltage value | Select Meter register | Meter register should be selected
29 | Wait |  |  | 2 | Wait | Waiting is done successfully
30 | Click | ByID | ALARM_CONDITION_LESS_THAN |  | Click alarm condition Less Than | alarm condition Less than radio button Should be successfully clicked
31 | Wait |  |  | 2 | Wait | Waiting is done successfully
32 | Type | ByID | ALARM_TRIGGERED_ON_TIME | 0 | Type triggered on time | triggered on time should be typed
33 | Type | ByID | ALARM_TRIGGERED_OFF_TIME | 0 | Type triggered off time | triggered off time should be typed
34 | Type | ByID | ALARM_PARAMETER_TRIGGERED_HYSTERESIS | 0 | Type Hysteresis value | Hysteresis value should be typed
35 | Type | ByID | ALARM_PARAMETER_TRIGGERED_OBIS_VALUE | 500 | Type Meter OBIS value | Meter OBIS value should be typed
36 | SelectByVisibleText | ByID | ALARM_ACTION | Relay | Select Alarm action | Alarm action should be selected
37 | Wait |  |  | 2 | Wait | Waiting is done successfully
38 | SelectByValue | ByID | ALARM_ACTION_ALIAS_NAME | RELAY-2 | Select Alarm action device | Alarm action device should be selected
39 | Wait |  |  | 2 | Wait | Waiting is done successfully
40 | GetText | ByID | ALARM_ACTION_ALIAS_NAME_VALUE |  | Retrieve Alarm actions value | Alarm actions value should be retrieved
41 | Wait |  |  | 1 | Wait | Waiting is done successfully
42 | Click | ByID | ENABLE_SMS |  | Click SMS checkbox | SMS checkbox Should be successfully clicked
43 | Click | ByID | ENABLE_EMAIL |  | Click Email checkbox | Email checkbox Should be successfully clicked
44 | Click | ByID | ENABLE_SNMP |  | Click SNMP checkbox | SNMP checkbox Should be successfully clicked
45 | Wait |  |  | 1 | Wait | Waiting is done successfully
46 | Click | ByID | ALARM_SAVE_BUTTON |  | Click Alarm save button | Alarm save button button Should be successfully clicked
47 | Wait |  |  | 3 | Wait | Waiting is done successfully
48 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
49 | Click | ByID | ALARM_BACK_TO_SUMMARY_LINK |  | Click Back to summary link | Back to summary link Should be successfully clicked
50 | Wait |  |  | 2 | Wait | Waiting is done successfully
51 | EnableAlarm |  |  |  | Alarm is Enabled | Alarm should be enabled | 18
52 | Wait |  |  | 3 | Wait | Waiting is done successfully
53 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
54 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
55 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
56 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
57 | Wait |  |  | 1 | Wait | Waiting is done successfully
58 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
59 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
60 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
61 | Wait |  |  | 5 | Wait | Waiting is done successfully
62 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
63 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 18
64 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 18
65 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Enabled date/Time | Alarm status page Enabled Date/Time should be retrieved | 18
66 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 18
67 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page alarm status | Alarm status page alarm status should be retrieved | 18
68 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page triggered details | Alarm status page triggered details should be retrieved | 18
69 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 18
70 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 18
71 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_STATUS,DASHBOARD_ALARM_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 18
72 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
73 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
74 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
75 | Wait |  |  | 1 | Wait | Waiting is done successfully
76 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
77 | Wait |  |  | 2 | Wait | Waiting is done successfully
78 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
79 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
80 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
81 | Wait |  |  | 2 | Wait | Waiting is done successfully
82 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_1 |  | Verify Relay Output AFTER drive status | Relay Output AFTER drive status is verified successfully | 38
83 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_1 |  | Retrieve Relay Output AFTER drive status | Relay Output AFTER drive status should be retrieved | 38
84 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Verify Relay Output AFTER drive Button | Relay Output AFTER drive Button is verified successfully | 38
85 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Retrieve Relay Output AFTER drive Button | Relay Output AFTER drive Button should be retrieved | 38
86 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
87 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
88 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
89 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
90 | Wait |  |  | 2 | Wait | Waiting is done successfully
91 | Click | ByName | LOG_VALUES_SUBMENU |  | Click on Log Values sub menu | Log Values sub menu should be clicked
92 | Wait |  |  | 1 | Wait | Waiting is done successfully
93 | Click | ByName | ALARM_LOGS_SUBMENU |  | Click on Alarm Logs menu | Alarm Logs menu should be clicked
94 | Wait |  |  | 2 | Wait | Waiting is done successfully
95 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
96 | GetWindowHandle | ByID | ALARM_START_DATE_BUTTON |  | Click on Start date button | Start date button should be clicked
97 | ClearAndType | ByName | ALARM_START_DATE_HOUR | 01 | Type hour | Hour should be typed
98 | ClearAndType | ByName | ALARM_START_DATE_MINUTES | 00 | Type Minute | Minute should be typed
99 | ClearAndType | ByName | ALARM_START_DATE_SECONDS | 00 | Type Seconds | Seconds should be typed
100 | Wait |  |  | 2 | Wait | Waiting is done successfully
101 | Click | ByXPath | ALARM_START_DATE |  | Click on Start date | Start date should be clicked
102 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
103 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
104 | GetWindowHandle | ByID | ALARM_END_DATE_BUTTON |  | Click on End date button | End date button should be clicked
105 | Wait |  |  | 2 | Wait | Waiting is done successfully
106 | Click | ByXPath | ALARM_END_DATE |  | Click on End date | End date should be clicked
107 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
108 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
109 | Wait |  |  | 1 | Wait | Waiting is done successfully
110 | SelectByVisibleText | ByID | ALARM_LOGS_PAGE_ALIAS_NAME |  | Select alias name | Alias name should be selected | 18
111 | Wait |  |  | 2 | Wait | Waiting is done successfully
112 | Click | ByID | ALARM_LOG_FETCH_BUTTON |  | Click on Alarm log fetch button | Alarm log fetch button should be clicked
113 | WaitForAlarmLogs |  |  |  | Should display alarm logs | Alarm logs should be displayed
114 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
115 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
116 | Wait |  |  | 2 | Wait | Waiting is done successfully
117 | LogCount |  |  |  | Retrieve Alarm logs Count | Alarm logs count should be retrieved
118 | VerifyAlarmLoggedDateTime |  |  |  | Verify Alarm Logs Logged Date Time | Alarm Logs Logged Date Time is verified successfully | 68
119 | Wait |  |  | 1 | Wait | Waiting is done successfully
120 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alias name | Alarm Logs Logged Alias name is verified successfully | 117,18
121 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alias name | Alarm Logs Logged Alias name should be retrieved | 117,18
122 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alarm Type | Alarm Logs Logged Alarm Type is verified successfully | 117,13
123 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alarm Type | Alarm Logs Logged Alarm Type should be retrieved | 117,13
124 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alarm Source | Alarm Logs Logged Alarm Source is verified successfully | 117,26
125 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alarm Source | Alarm Logs Logged Alarm Source should be retrieved | 117,26
126 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT2 | Verify Alarm Logs Logged Alarm channel | Alarm Logs Logged Alarm channel is verified successfully | 117
127 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT2 | Retrieve Alarm Logs Logged Alarm channel | Alarm Logs Logged alarm channel should be retrieved | 117
128 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Verify Alarm Logs Logged log level | Alarm Logs Logged log level is verified successfully | 117
129 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Retrieve Alarm Logs Logged log level | Alarm Logs Logged leg level should be retrieved | 117
130 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged alarm action | Alarm Logs Logged alarm action status is verified successfully | 117,40
131 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged alarm action | Alarm Logs Logged alarm action should be retrieved | 117,40
132 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 23 | Verify Alarm Logs Logged alarm value | Alarm Logs Logged alarm value status is verified successfully | 117
133 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 23 | Retrieve Alarm Logs Logged alarm value | Alarm Logs Logged alarm value should be retrieved | 117
134 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | V | Verify larm Logs Logged alarm unit | larm Logs Logged alarm unit status is verified successfully | 117
135 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | V | Retrieve Alarm Logs Logged alarm unit | Alarm Logs Logged alarm unit should be retrieved | 117
136 | VerifyElementIsPresent | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_ON |  | Verify larm Logs description | larm Logs alarm description is verified successfully | 117
137 | GetText | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_ON |  | Retrieve Alarm Logs Logged description | Alarm Logs Logged alarm description should be retrieved | 117
138 | AlarmLogsLoggedDateTime |  |  |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
139 | AlarmLogsLoggedDescription |  |  |  | Retrieve Alarm Logs Description | Alarm Logs Description should be retrieved
140 | Wait |  |  | 1 | Wait | Waiting is done successfully
141 | VerifyAlarmLogs |  |  |  | Should verify alarm logs | Alarm Logs should be verified | 68,138,139
142 | Wait |  |  | 1 | Wait | Waiting is done successfully
143 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
144 | VerifyElementIsPresent | ByName | CONFIGURATION |  | Verify Configurations menu | Configurations menu is verified successfully
145 | Click | ByName | CONFIGURATION |  | Click on Configurations menu | Configurations menu should be clicked
146 | Wait |  |  | 1 | Wait | Waiting is done successfully
147 | VerifyElementIsPresent | ByName | ALARM_CONFIGURATION |  | Verify Alarm Configurations | Alarm Configurations is verified successfully
148 | Click | ByName | ALARM_CONFIGURATION |  | Click on Alarm Configurations | Alarm Configurations should be clicked
149 | Wait |  |  | 2 | Wait | Waiting is done successfully
150 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
151 | VerifyElementIsPresent | ByName | ALARM_SUMMARY_PAGE_TITLE |  | Verify Alarm Summary Page title | Alarm Summary Page title is verified successfully
152 | EditAlarm |  |  |  | Alarm is edited | Alarm should be edited | 18
153 | Wait |  |  | 2 | Wait | Waiting is done successfully
154 | Click | ByID | ALARM_CONDITION_GREATER_THAN |  | Click alarm condition lower than | alarm condition lower than radio button Should be successfully clicked
155 | Wait |  |  | 1 | Wait | Waiting is done successfully
156 | Click | ByID | ALARM_SAVE_BUTTON |  | Click Alarm save button | Alarm save button button Should be successfully clicked
157 | Wait |  |  | 3 | Wait | Waiting is done successfully
158 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
159 | Click | ByID | ALARM_BACK_TO_SUMMARY_LINK |  | Click Back to summary link | Back to summary link Should be successfully clicked
160 | Wait |  |  | 2 | Wait | Waiting is done successfully
161 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
162 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
163 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
164 | Wait |  |  | 1 | Wait | Waiting is done successfully
165 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
166 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
167 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
168 | Wait |  |  | 1 | Wait | Waiting is done successfully
169 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
170 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 18
171 | GetText | MergeByXpath | DASHBOARD_ALARM_NOT_TRIGGERED_STATUS,DASHBOARD_ALARM_NOT_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page Reversed alarm off time | Alarm status page Reversed alarm off time should be retrieved | 18
172 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 18
173 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Reversed Enabled date/Time | Alarm status page Reversed Enabled Date/Time should be retrieved | 18
174 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 18
175 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page Reversed alarm status | Alarm status page Reversed alarm status should be retrieved | 18
176 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page Reversed details | Alarm status page Reversed details should be retrieved | 18
177 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 18
178 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 18
179 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
180 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
181 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
182 | Wait |  |  | 1 | Wait | Waiting is done successfully
183 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
184 | Wait |  |  | 2 | Wait | Waiting is done successfully
185 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
186 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
187 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
188 | Wait |  |  | 2 | Wait | Waiting is done successfully
189 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Verify Relay Output Before drive status | Relay Output Before drive status is verified successfully | 38
190 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Retrieve Relay Output Before drive status | Relay Output Before drive status should be retrieved | 38
191 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Verify Relay Output Before drive Button | Relay Output Before drive Button is verified successfully | 38
192 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Retrieve Relay Output Before drive Button | Relay Output Before drive Button should be retrieved | 38
193 | Wait |  |  | 1 | Wait | Waiting is done successfully

## DataList
LocateBy | GetUrl
ByID | NavigateToURL
ByName | Wait
ByOrName | WaitTime
ByXPath | Maximize
ByLinkText | Click
ByTagName | ActionClick
ByClassName | JsClick | Normal Xpath
ByCssSelector | DoubleClick
ByPartialLinkText | ClickAt
MergeByXpath | ClickAndHold
MergeXpath | Clear
Xpath | Type
MergeBy2Xpath | ClearAndType
ActionType
TypeDynamicValue
TypeDynamicMinimumValue
Submit
MouseOver
MouseOverAndClick
GetText
GetAttribute
| GetCount | Normal Xpath
GetCurrentURL
SelectCheckBox
SelectByIndex
SelectByValue
SelectByVisibleText
DeSelectCheckBox
DeSelectByIndex
DeSelectByValue
DeSelectByVisibleText
SwitchFrameByName
SwitchFrameByIndex
SwitchFrameByXpath
SwitchFrame
SwitchToDefaultFrame
Refresh
Back
Forward
AlertOk
DismissAlert
AlertDismiss
PromptBox
GenerateAlert
Close
GetWindowHandle
SwitchToDefaultWindow
SwitchToDefaultContent
GetAutoIt
ScrollDown
ScrollUp
ScrollBottom
KeyboardPageUp
KeyboardPageDown
KeyboardEnd
KeyboardTab
PageMaximize
Enter
KeyboardArrowUp
KeyboardArrowDown
KeyboardArrowLeft
KeyboardArrowRight
Drag
Drop
VerifyElementIsSelected
VerifyElementIsPresent
VerifyElementIsNotPresent
VerifyElementIsEnable
WaitUntilVisibilityOfElement
| WaitUntilInvisibilityOfElement | Normal Xpath
VerifyTextIsPresent
| WaitUntilTextToBeNotPresent | Normal Xpath
WaitUntilTextToBePresent
WaitUntilElementToBeClickable
WaitUntilElementToBeSelected
TextToBePresentInElementValue
| WaitForElementPresent | Normal Xpath
| WaitForElementNotPresent | Normal Xpath
CheckTwoString
DeleteAllCookies
TakeScreeShot
Highlight
NewTab
CloseTab
Gem25Login
EnableAlarm
VerifyDashboardAlarm
AlertAccept
ExecuteSSHCommands
AlarmLogsLoggedDateTime
AlarmLogsLoggedDescription
VerifyAlarmLogs
WaitForAlarmLogs
ExecuteGem25BoardsshCommands
DisableAlarm
EditAlarm
VerifyAlarmLoggedDateTime
SelectDashboardAlarm
LogCount
VerifyAlarmLogsTriggeredOff