## Sheet1
Step No | Action | LocateBy | OR Locator | Input Data | Description | Expected Results | Reference Step
1 | Gem25Login |  |  |  | Login into the Gem25 | Gem25 Should be logged
2 | WaitTime |  |  | 3 | Wait until the page gets load | Should Wait until the page gets load
3 | VerifyElementIsPresent | ByName | CONFIGURATION |  | Verify Configurations menu | Configurations menu is verified successfully
4 | Click | ByName | CONFIGURATION |  | Click on Configurations menu | Configurations menu should be clicked
5 | Wait |  |  | 1 | Wait | Waiting is done successfully
6 | VerifyElementIsPresent | ByName | ALARM_CONFIGURATION |  | Verify Alarm Configurations | Alarm Configurations is verified successfully
7 | Click | ByName | ALARM_CONFIGURATION |  | Click on Alarm Configurations | Alarm Configurations should be clicked
8 | Wait |  |  | 2 | Wait | Waiting is done successfully
9 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
10 | VerifyElementIsPresent | ByName | ALARM_SUMMARY_PAGE_TITLE |  | Verify Alarm Summary Page title | Alarm Summary Page title is verified successfully
11 | GetWindowHandle | ByID | ADD_ALARM_BUTTON |  | Click on Add Alarm button | Add Alarm button should be clicked
12 | Click | ByID | SINGLE_ALARM_RADIO_BUTTON |  | Click on Single alarm radio button | Single alarm radio button should be clicked
13 | GetText | ByName | SINGLE_ALARM_LABLE |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
14 | Click | ByID | ADD_ALARM_OK_BUTTON |  | Click on Alarm OK button | Alarm OK button should be clicked
15 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
16 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
17 | Wait |  |  | 2 | Wait | Waiting is done successfully
18 | TypeDynamicMinimumValue | ByID | ALARM_ALIAS_NAME | Alarm-IEC-RO | Type alarm name | alarm name should be typed
19 | TypeDynamicMinimumValue | ByID | ALARM_DESCRIPTION | Alarm-IEC-RO | Type alarm description | alarm description should be typed
20 | SelectByVisibleText | ByID | ALARM_LOG_LEVEL | Critical | Select log level | log level should be selected
21 | Wait |  |  | 1 | Wait | Waiting is done successfully
22 | SelectByValue | ByID | ALARM_SOURCE | Metering Device | Select alarm source | alarm source should be selected
23 | Wait |  |  | 2 | Wait | Waiting is done successfully
24 | SelectByValue | ByID | ALARM_SOURCE_INPUT_CHANNEL | AEL | Select Meter device | Meter device should be selected
25 | Wait |  |  | 1 | Wait | Waiting is done successfully
26 | SelectByVisibleText | ByID | ALARM_METER_NAME | METER | Select Meter Name | Meter Name should be selected
27 | Wait |  |  | 1 | Wait | Waiting is done successfully
28 | SelectByValue | ByID | OBIS_NAME | Kohler_L1-Phase voltage value | Select Meter register | Meter register should be selected
29 | Wait |  |  | 2 | Wait | Waiting is done successfully
30 | Click | ByID | ALARM_CONDITION_BETWEEN |  | Click alarm condition Between | Alarm condition Between radio button Should be successfully clicked
31 | Wait |  |  | 2 | Wait | Waiting is done successfully
32 | Type | ByID | ALARM_CONDITION_BETWEEN_FROM | 200 | Type between condtion from value | Between condition from value should be typed
33 | Type | ByID | ALARM_CONDITION_BETWEEN_TO | 300 | Type between condtion to value | Between condition to value should be typed
34 | Type | ByID | ALARM_TRIGGERED_ON_TIME | 0 | Type triggered on time | triggered on time should be typed
35 | Type | ByID | ALARM_TRIGGERED_OFF_TIME | 0 | Type triggered off time | triggered off time should be typed
36 | Type | ByID | ALARM_PARAMETER_TRIGGERED_HYSTERESIS | 0 | Type Hysteresis value | Hysteresis value should be typed
37 | SelectByVisibleText | ByID | ALARM_ACTION | Relay | Select Alarm action | Alarm action should be selected
38 | Wait |  |  | 2 | Wait | Waiting is done successfully
39 | SelectByValue | ByID | ALARM_ACTION_ALIAS_NAME | RELAY-4 | Select Alarm action device | Alarm action device should be selected
40 | Wait |  |  | 2 | Wait | Waiting is done successfully
41 | GetText | ByID | ALARM_ACTION_ALIAS_NAME_VALUE |  | Retrieve Alarm actions value | Alarm actions value should be retrieved
42 | Wait |  |  | 1 | Wait | Waiting is done successfully
43 | Click | ByID | ENABLE_SMS |  | Click SMS checkbox | SMS checkbox Should be successfully clicked
44 | Click | ByID | ENABLE_EMAIL |  | Click Email checkbox | Email checkbox Should be successfully clicked
45 | Click | ByID | ENABLE_SNMP |  | Click SNMP checkbox | SNMP checkbox Should be successfully clicked
46 | Wait |  |  | 1 | Wait | Waiting is done successfully
47 | Click | ByID | ALARM_SAVE_BUTTON |  | Click Alarm save button | Alarm save button button Should be successfully clicked
48 | Wait |  |  | 3 | Wait | Waiting is done successfully
49 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
50 | Click | ByID | ALARM_BACK_TO_SUMMARY_LINK |  | Click Back to summary link | Back to summary link Should be successfully clicked
51 | Wait |  |  | 2 | Wait | Waiting is done successfully
52 | EnableAlarm |  |  |  | Alarm is Enabled | Alarm should be enabled | 18
53 | Wait |  |  | 3 | Wait | Waiting is done successfully
54 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
55 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
56 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
57 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
58 | Wait |  |  | 1 | Wait | Waiting is done successfully
59 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
60 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
61 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
62 | Wait |  |  | 5 | Wait | Waiting is done successfully
63 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
64 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 18
65 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 18
66 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Enabled date/Time | Alarm status page Enabled Date/Time should be retrieved | 18
67 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 18
68 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page alarm status | Alarm status page alarm status should be retrieved | 18
69 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page triggered details | Alarm status page triggered details should be retrieved | 18
70 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 18
71 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 18
72 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_STATUS,DASHBOARD_ALARM_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 18
73 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
74 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
75 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
76 | Wait |  |  | 1 | Wait | Waiting is done successfully
77 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
78 | Wait |  |  | 2 | Wait | Waiting is done successfully
79 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
80 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
81 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
82 | Wait |  |  | 2 | Wait | Waiting is done successfully
83 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_1 |  | Verify Relay Output AFTER drive status | Relay Output AFTER drive status is verified successfully | 39
84 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_1 |  | Retrieve Relay Output AFTER drive status | Relay Output AFTER drive status should be retrieved | 39
85 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Verify Relay Output AFTER drive Button | Relay Output AFTER drive Button is verified successfully | 39
86 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Retrieve Relay Output AFTER drive Button | Relay Output AFTER drive Button should be retrieved | 39
87 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
88 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
89 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
90 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
91 | Wait |  |  | 2 | Wait | Waiting is done successfully
92 | Click | ByName | LOG_VALUES_SUBMENU |  | Click on Log Values sub menu | Log Values sub menu should be clicked
93 | Wait |  |  | 1 | Wait | Waiting is done successfully
94 | Click | ByName | ALARM_LOGS_SUBMENU |  | Click on Alarm Logs menu | Alarm Logs menu should be clicked
95 | Wait |  |  | 2 | Wait | Waiting is done successfully
96 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
97 | GetWindowHandle | ByID | ALARM_START_DATE_BUTTON |  | Click on Start date button | Start date button should be clicked
98 | ClearAndType | ByName | ALARM_START_DATE_HOUR | 01 | Type hour | Hour should be typed
99 | ClearAndType | ByName | ALARM_START_DATE_MINUTES | 00 | Type Minute | Minute should be typed
100 | ClearAndType | ByName | ALARM_START_DATE_SECONDS | 00 | Type Seconds | Seconds should be typed
101 | Wait |  |  | 2 | Wait | Waiting is done successfully
102 | Click | ByXPath | ALARM_START_DATE |  | Click on Start date | Start date should be clicked
103 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
104 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
105 | GetWindowHandle | ByID | ALARM_END_DATE_BUTTON |  | Click on End date button | End date button should be clicked
106 | Wait |  |  | 2 | Wait | Waiting is done successfully
107 | Click | ByXPath | ALARM_END_DATE |  | Click on End date | End date should be clicked
108 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
109 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
110 | Wait |  |  | 1 | Wait | Waiting is done successfully
111 | SelectByVisibleText | ByID | ALARM_LOGS_PAGE_ALIAS_NAME |  | Select alias name | Alias name should be selected | 18
112 | Wait |  |  | 2 | Wait | Waiting is done successfully
113 | Click | ByID | ALARM_LOG_FETCH_BUTTON |  | Click on Alarm log fetch button | Alarm log fetch button should be clicked
114 | WaitForAlarmLogs |  |  |  | Should display alarm logs | Alarm logs should be displayed
115 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
116 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
117 | Wait |  |  | 2 | Wait | Waiting is done successfully
118 | LogCount |  |  |  | Retrieve Alarm logs Count | Alarm logs count should be retrieved
119 | VerifyAlarmLoggedDateTime |  |  |  | Verify Alarm Logs Logged Date Time | Alarm Logs Logged Date Time is verified successfully | 69
120 | Wait |  |  | 1 | Wait | Waiting is done successfully
121 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alias name | Alarm Logs Logged Alias name is verified successfully | 118,18
122 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alias name | Alarm Logs Logged Alias name should be retrieved | 118,18
123 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alarm Type | Alarm Logs Logged Alarm Type is verified successfully | 118,13
124 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alarm Type | Alarm Logs Logged Alarm Type should be retrieved | 118,13
125 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alarm Source | Alarm Logs Logged Alarm Source is verified successfully | 118,26
126 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alarm Source | Alarm Logs Logged Alarm Source should be retrieved | 118,26
127 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT2 | Verify Alarm Logs Logged Alarm channel | Alarm Logs Logged Alarm channel is verified successfully | 118
128 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT2 | Retrieve Alarm Logs Logged Alarm channel | Alarm Logs Logged alarm channel should be retrieved | 118
129 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Verify Alarm Logs Logged log level | Alarm Logs Logged log level is verified successfully | 118
130 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Retrieve Alarm Logs Logged log level | Alarm Logs Logged leg level should be retrieved | 118
131 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged alarm action | Alarm Logs Logged alarm action status is verified successfully | 118,41
132 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged alarm action | Alarm Logs Logged alarm action should be retrieved | 118,41
133 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 23 | Verify Alarm Logs Logged alarm value | Alarm Logs Logged alarm value status is verified successfully | 118
134 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 23 | Retrieve Alarm Logs Logged alarm value | Alarm Logs Logged alarm value should be retrieved | 118
135 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | V | Verify larm Logs Logged alarm unit | larm Logs Logged alarm unit status is verified successfully | 118
136 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | V | Retrieve Alarm Logs Logged alarm unit | Alarm Logs Logged alarm unit should be retrieved | 118
137 | VerifyElementIsPresent | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_ON |  | Verify larm Logs description | larm Logs alarm description is verified successfully | 118
138 | GetText | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_ON |  | Retrieve Alarm Logs Logged description | Alarm Logs Logged alarm description should be retrieved | 118
139 | AlarmLogsLoggedDateTime |  |  |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
140 | AlarmLogsLoggedDescription |  |  |  | Retrieve Alarm Logs Description | Alarm Logs Description should be retrieved
141 | Wait |  |  | 1 | Wait | Waiting is done successfully
142 | VerifyAlarmLogs |  |  |  | Should verify alarm logs | Alarm Logs should be verified | 69,139,140
143 | Wait |  |  | 1 | Wait | Waiting is done successfully
144 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
145 | VerifyElementIsPresent | ByName | CONFIGURATION |  | Verify Configurations menu | Configurations menu is verified successfully
146 | Click | ByName | CONFIGURATION |  | Click on Configurations menu | Configurations menu should be clicked
147 | Wait |  |  | 1 | Wait | Waiting is done successfully
148 | VerifyElementIsPresent | ByName | ALARM_CONFIGURATION |  | Verify Alarm Configurations | Alarm Configurations is verified successfully
149 | Click | ByName | ALARM_CONFIGURATION |  | Click on Alarm Configurations | Alarm Configurations should be clicked
150 | Wait |  |  | 2 | Wait | Waiting is done successfully
151 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
152 | VerifyElementIsPresent | ByName | ALARM_SUMMARY_PAGE_TITLE |  | Verify Alarm Summary Page title | Alarm Summary Page title is verified successfully
153 | EditAlarm |  |  |  | Alarm is edited | Alarm should be edited | 18
154 | Wait |  |  | 2 | Wait | Waiting is done successfully
155 | Click | ByID | ALARM_CONDITION_BETWEEN |  | Click alarm condition Between | Alarm condition Between radio button Should be successfully clicked
156 | Wait |  |  | 2 | Wait | Waiting is done successfully
157 | ClearAndType | ByID | ALARM_CONDITION_BETWEEN_FROM | 100 | Type between condtion from value | Between condition from value should be typed
158 | ClearAndType | ByID | ALARM_CONDITION_BETWEEN_TO | 200 | Type between condtion to value | Between condition to value should be typed
159 | Wait |  |  | 1 | Wait | Waiting is done successfully
160 | Click | ByID | ALARM_SAVE_BUTTON |  | Click Alarm save button | Alarm save button button Should be successfully clicked
161 | Wait |  |  | 3 | Wait | Waiting is done successfully
162 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
163 | Click | ByID | ALARM_BACK_TO_SUMMARY_LINK |  | Click Back to summary link | Back to summary link Should be successfully clicked
164 | Wait |  |  | 2 | Wait | Waiting is done successfully
165 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
166 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
167 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
168 | Wait |  |  | 1 | Wait | Waiting is done successfully
169 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
170 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
171 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
172 | Wait |  |  | 1 | Wait | Waiting is done successfully
173 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
174 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 18
175 | GetText | MergeByXpath | DASHBOARD_ALARM_NOT_TRIGGERED_STATUS,DASHBOARD_ALARM_NOT_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page Reversed alarm off time | Alarm status page Reversed alarm off time should be retrieved | 18
176 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 18
177 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Reversed Enabled date/Time | Alarm status page Reversed Enabled Date/Time should be retrieved | 18
178 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 18
179 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page Reversed alarm status | Alarm status page Reversed alarm status should be retrieved | 18
180 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page Reversed details | Alarm status page Reversed details should be retrieved | 18
181 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 18
182 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 18
183 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
184 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
185 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
186 | Wait |  |  | 1 | Wait | Waiting is done successfully
187 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
188 | Wait |  |  | 2 | Wait | Waiting is done successfully
189 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
190 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
191 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
192 | Wait |  |  | 2 | Wait | Waiting is done successfully
193 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Verify Relay Output Before drive status | Relay Output Before drive status is verified successfully | 39
194 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Retrieve Relay Output Before drive status | Relay Output Before drive status should be retrieved | 39
195 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Verify Relay Output Before drive Button | Relay Output Before drive Button is verified successfully | 39
196 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Retrieve Relay Output Before drive Button | Relay Output Before drive Button should be retrieved | 39
197 | Wait |  |  | 1 | Wait | Waiting is done successfully

## DataList
LocateBy | GetUrl
ByID | NavigateToURL
ByName | Wait
ByOrName | WaitTime
ByXPath | Maximize
ByLinkText | Click
ByTagName | ActionClick
ByClassName | JsClick | Normal Xpath
ByCssSelector | DoubleClick
ByPartialLinkText | ClickAt
MergeByXpath | ClickAndHold
MergeXpath | Clear
Xpath | Type
MergeBy2Xpath | ClearAndType
ActionType
TypeDynamicValue
TypeDynamicMinimumValue
Submit
MouseOver
MouseOverAndClick
GetText
GetAttribute
| GetCount | Normal Xpath
GetCurrentURL
SelectCheckBox
SelectByIndex
SelectByValue
SelectByVisibleText
DeSelectCheckBox
DeSelectByIndex
DeSelectByValue
DeSelectByVisibleText
SwitchFrameByName
SwitchFrameByIndex
SwitchFrameByXpath
SwitchFrame
SwitchToDefaultFrame
Refresh
Back
Forward
AlertOk
DismissAlert
AlertDismiss
PromptBox
GenerateAlert
Close
GetWindowHandle
SwitchToDefaultWindow
SwitchToDefaultContent
GetAutoIt
ScrollDown
ScrollUp
ScrollBottom
KeyboardPageUp
KeyboardPageDown
KeyboardEnd
KeyboardTab
PageMaximize
Enter
KeyboardArrowUp
KeyboardArrowDown
KeyboardArrowLeft
KeyboardArrowRight
Drag
Drop
VerifyElementIsSelected
VerifyElementIsPresent
VerifyElementIsNotPresent
VerifyElementIsEnable
WaitUntilVisibilityOfElement
| WaitUntilInvisibilityOfElement | Normal Xpath
VerifyTextIsPresent
| WaitUntilTextToBeNotPresent | Normal Xpath
WaitUntilTextToBePresent
WaitUntilElementToBeClickable
WaitUntilElementToBeSelected
TextToBePresentInElementValue
| WaitForElementPresent | Normal Xpath
| WaitForElementNotPresent | Normal Xpath
CheckTwoString
DeleteAllCookies
TakeScreeShot
Highlight
NewTab
CloseTab
Gem25Login
EnableAlarm
VerifyDashboardAlarm
AlertAccept
ExecuteSSHCommands
AlarmLogsLoggedDateTime
AlarmLogsLoggedDescription
VerifyAlarmLogs
WaitForAlarmLogs
ExecuteGem25BoardsshCommands
DisableAlarm
EditAlarm
VerifyAlarmLoggedDateTime
SelectDashboardAlarm
LogCount
VerifyAlarmLogsTriggeredOff