## Sheet1
Step No | Action | LocateBy | OR Locator | Input Data | Description | Expected Results | Reference Step
1 | Gem25Login |  |  |  | Login into the Gem25 | Gem25 Should be logged
2 | WaitTime |  |  | 3 | Wait until the page gets load | Should Wait until the page gets load
3 | VerifyElementIsPresent | ByName | CONFIGURATION |  | Verify Configurations menu | Configurations menu is verified successfully
4 | Click | ByName | CONFIGURATION |  | Click on Configurations menu | Configurations menu should be clicked
5 | Wait |  |  | 1 | Wait | Waiting is done successfully
6 | VerifyElementIsPresent | ByName | ALARM_CONFIGURATION |  | Verify Alarm Configurations | Alarm Configurations is verified successfully
7 | Click | ByName | ALARM_CONFIGURATION |  | Click on Alarm Configurations | Alarm Configurations should be clicked
8 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 500 | Execute Shell Scrip command | Shell script command is executed
9 | Wait |  |  | 2 | Wait | Waiting is done successfully
10 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
11 | VerifyElementIsPresent | ByName | ALARM_SUMMARY_PAGE_TITLE |  | Verify Alarm Summary Page title | Alarm Summary Page title is verified successfully
12 | GetWindowHandle | ByID | ADD_ALARM_BUTTON |  | Click on Add Alarm button | Add Alarm button should be clicked
13 | Click | ByID | SINGLE_ALARM_RADIO_BUTTON |  | Click on Single alarm radio button | Single alarm radio button should be clicked
14 | GetText | ByName | SINGLE_ALARM_LABLE |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
15 | Click | ByID | ADD_ALARM_OK_BUTTON |  | Click on Alarm OK button | Alarm OK button should be clicked
16 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
17 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
18 | Wait |  |  | 2 | Wait | Waiting is done successfully
19 | TypeDynamicMinimumValue | ByID | ALARM_ALIAS_NAME | Alarm Input Int16 | Type alarm name | alarm name should be typed
20 | TypeDynamicMinimumValue | ByID | ALARM_DESCRIPTION | Alarm Input Int16 | Type alarm description | alarm description should be typed
21 | SelectByVisibleText | ByID | ALARM_LOG_LEVEL | Critical | Select log level | log level should be selected
22 | Wait |  |  | 1 | Wait | Waiting is done successfully
23 | SelectByValue | ByID | ALARM_SOURCE | Modbus RTU | Select alarm source | alarm source should be selected
24 | Wait |  |  | 2 | Wait | Waiting is done successfully
25 | SelectByValue | ByID | ALARM_MOBUS_NAME | MODBUS_1 | Select Modbus device | Modbus device should be selected
26 | Wait |  |  | 2 | Wait | Waiting is done successfully
27 | SelectByValue | ByID | ALARM_MODBUS_REGISTER_ADDRESS | RTU-1-Input_Int16_Reg-373 | Select modbus register | modbus register should be selected
28 | Wait |  |  | 2 | Wait | Waiting is done successfully
29 | Click | ByID | ALARM_CONDITION_GREATER_THAN |  | Click alarm condition Greater Than | Alarm condition Greater than radio button Should be successfully clicked
30 | Wait |  |  | 2 | Wait | Waiting is done successfully
31 | Type | ByID | ALARM_TRIGGERED_ON_TIME | 0 | Type triggered on time | triggered on time should be typed
32 | Type | ByID | ALARM_TRIGGERED_OFF_TIME | 0 | Type triggered off time | triggered off time should be typed
33 | Type | ByID | ALARM_PARAMETER_TRIGGERED_HYSTERESIS | 0 | Type Hysteresis value | Hysteresis value should be typed
34 | Type | ByID | ALARM_PARAMETER_TRIGGERED_RTU_VALUE | 80 | Type Modbus RTU value | Modbus RTU value should be typed
35 | SelectByVisibleText | ByID | ALARM_ACTION | Relay | Select Alarm action | Alarm action should be selected
36 | Wait |  |  | 2 | Wait | Waiting is done successfully
37 | SelectByValue | ByID | ALARM_ACTION_ALIAS_NAME | RELAY-3 | Select Alarm action device | Alarm action device should be selected
38 | Wait |  |  | 2 | Wait | Waiting is done successfully
39 | GetText | ByID | ALARM_ACTION_ALIAS_NAME_VALUE |  | Retrieve Alarm actions value | Alarm actions value should be retrieved
40 | Wait |  |  | 1 | Wait | Waiting is done successfully
41 | Click | ByID | ENABLE_SMS |  | Click SMS checkbox | SMS checkbox Should be successfully clicked
42 | Click | ByID | ENABLE_EMAIL |  | Click Email checkbox | Email checkbox Should be successfully clicked
43 | Click | ByID | ENABLE_SNMP |  | Click SNMP checkbox | SNMP checkbox Should be successfully clicked
44 | Wait |  |  | 1 | Wait | Waiting is done successfully
45 | Click | ByID | ALARM_SAVE_BUTTON |  | Click Alarm save button | Alarm save button button Should be successfully clicked
46 | Wait |  |  | 3 | Wait | Waiting is done successfully
47 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
48 | Click | ByID | ALARM_BACK_TO_SUMMARY_LINK |  | Click Back to summary link | Back to summary link Should be successfully clicked
49 | Wait |  |  | 2 | Wait | Waiting is done successfully
50 | EnableAlarm |  |  |  | Alarm is Enabled | Alarm should be enabled | 19
51 | Wait |  |  | 3 | Wait | Waiting is done successfully
52 | AlertAccept |  |  |  | Alert is Accept | Alert should be accepted
53 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
54 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
55 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
56 | Wait |  |  | 1 | Wait | Waiting is done successfully
57 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
58 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
59 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
60 | Wait |  |  | 1 | Wait | Waiting is done successfully
61 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
62 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
63 | GetText | MergeByXpath | DASHBOARD_ALARM_NOT_TRIGGERED_STATUS,DASHBOARD_ALARM_NOT_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
64 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
65 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
66 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
67 | Wait |  |  | 1 | Wait | Waiting is done successfully
68 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
69 | Wait |  |  | 2 | Wait | Waiting is done successfully
70 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
71 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
72 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
73 | Wait |  |  | 2 | Wait | Waiting is done successfully
74 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Verify Relay Output Before drive status | Relay Output Before drive status is verified successfully | 37
75 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Retrieve Relay Output Before drive status | Relay Output Before drive status should be retrieved | 37
76 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Verify Relay Output Before drive Button | Relay Output Before drive Button is verified successfully | 37
77 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Retrieve Relay Output Before drive Button | Relay Output Before drive Button should be retrieved | 37
78 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 1000 | Execute Shell Scrip command | Shell script command is executed
79 | Wait |  |  | 2 | Wait | Waiting is done successfully
80 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
81 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
82 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
83 | Wait |  |  | 1 | Wait | Waiting is done successfully
84 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
85 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
86 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
87 | Wait |  |  | 1 | Wait | Waiting is done successfully
88 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
89 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
90 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 19
91 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Enabled date/Time | Alarm status page Enabled Date/Time should be retrieved | 19
92 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 19
93 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page alarm status | Alarm status page alarm status should be retrieved | 19
94 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page triggered details | Alarm status page triggered details should be retrieved | 19
95 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 19
96 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
97 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_STATUS,DASHBOARD_ALARM_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
98 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
99 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
100 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
101 | Wait |  |  | 1 | Wait | Waiting is done successfully
102 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
103 | Wait |  |  | 2 | Wait | Waiting is done successfully
104 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
105 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
106 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
107 | Wait |  |  | 2 | Wait | Waiting is done successfully
108 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_1 |  | Verify Relay Output AFTER drive status | Relay Output AFTER drive status is verified successfully | 37
109 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_1 |  | Retrieve Relay Output AFTER drive status | Relay Output AFTER drive status should be retrieved | 37
110 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Verify Relay Output AFTER drive Button | Relay Output AFTER drive Button is verified successfully | 37
111 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_AFTER_ACTION_BUTTON_1 |  | Retrieve Relay Output AFTER drive Button | Relay Output AFTER drive Button should be retrieved | 37
112 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
113 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
114 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
115 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
116 | Wait |  |  | 2 | Wait | Waiting is done successfully
117 | Click | ByName | LOG_VALUES_SUBMENU |  | Click on Log Values sub menu | Log Values sub menu should be clicked
118 | Wait |  |  | 1 | Wait | Waiting is done successfully
119 | Click | ByName | ALARM_LOGS_SUBMENU |  | Click on Alarm Logs menu | Alarm Logs menu should be clicked
120 | Wait |  |  | 2 | Wait | Waiting is done successfully
121 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
122 | GetWindowHandle | ByID | ALARM_START_DATE_BUTTON |  | Click on Start date button | Start date button should be clicked
123 | ClearAndType | ByName | ALARM_START_DATE_HOUR | 01 | Type hour | Hour should be typed
124 | ClearAndType | ByName | ALARM_START_DATE_MINUTES | 00 | Type Minute | Minute should be typed
125 | ClearAndType | ByName | ALARM_START_DATE_SECONDS | 00 | Type Seconds | Seconds should be typed
126 | Wait |  |  | 2 | Wait | Waiting is done successfully
127 | Click | ByXPath | ALARM_START_DATE |  | Click on Start date | Start date should be clicked
128 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
129 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
130 | GetWindowHandle | ByID | ALARM_END_DATE_BUTTON |  | Click on End date button | End date button should be clicked
131 | Wait |  |  | 2 | Wait | Waiting is done successfully
132 | Click | ByXPath | ALARM_END_DATE |  | Click on End date | End date should be clicked
133 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
134 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
135 | Wait |  |  | 1 | Wait | Waiting is done successfully
136 | SelectByVisibleText | ByID | ALARM_LOGS_PAGE_ALIAS_NAME |  | Select alias name | Alias name should be selected | 19
137 | Wait |  |  | 2 | Wait | Waiting is done successfully
138 | Click | ByID | ALARM_LOG_FETCH_BUTTON |  | Click on Alarm log fetch button | Alarm log fetch button should be clicked
139 | WaitForAlarmLogs |  |  |  | Should display alarm logs | Alarm logs should be displayed
140 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
141 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
142 | Wait |  |  | 2 | Wait | Waiting is done successfully
143 | LogCount |  |  |  | Retrieve Alarm logs Count | Alarm logs count should be retrieved
144 | VerifyAlarmLoggedDateTime |  |  |  | Verify Alarm Logs Logged Date Time | Alarm Logs Logged Date Time is verified successfully | 94
145 | Wait |  |  | 1 | Wait | Waiting is done successfully
146 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alias name | Alarm Logs Logged Alias name is verified successfully | 143,19
147 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alias name | Alarm Logs Logged Alias name should be retrieved | 143,19
148 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alarm Type | Alarm Logs Logged Alarm Type is verified successfully | 143,14
149 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alarm Type | Alarm Logs Logged Alarm Type should be retrieved | 143,14
150 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged Alarm Source | Alarm Logs Logged Alarm Source is verified successfully | 143,25
151 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged Alarm Source | Alarm Logs Logged Alarm Source should be retrieved | 143,25
152 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT1 | Verify Alarm Logs Logged Alarm channel | Alarm Logs Logged Alarm channel is verified successfully | 143
153 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT1 | Retrieve Alarm Logs Logged Alarm channel | Alarm Logs Logged alarm channel should be retrieved | 143
154 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Verify Alarm Logs Logged log level | Alarm Logs Logged log level is verified successfully | 143
155 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Retrieve Alarm Logs Logged log level | Alarm Logs Logged leg level should be retrieved | 143
156 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Verify Alarm Logs Logged alarm action | Alarm Logs Logged alarm action status is verified successfully | 143,39
157 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Logged alarm action | Alarm Logs Logged alarm action should be retrieved | 143,39
158 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 1000 | Verify Alarm Logs Logged alarm value | Alarm Logs Logged alarm value status is verified successfully | 143
159 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 1000 | Retrieve Alarm Logs Logged alarm value | Alarm Logs Logged alarm value should be retrieved | 143
160 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | Volt | Verify larm Logs Logged alarm unit | larm Logs Logged alarm unit status is verified successfully | 143
161 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | Volt | Retrieve Alarm Logs Logged alarm unit | Alarm Logs Logged alarm unit should be retrieved | 143
162 | VerifyElementIsPresent | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_ON |  | Verify larm Logs description | larm Logs alarm description is verified successfully | 143
163 | GetText | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_ON |  | Retrieve Alarm Logs Logged description | Alarm Logs Logged alarm description should be retrieved | 143
164 | AlarmLogsLoggedDateTime |  |  |  | Retrieve Alarm Logs Logged Date Time | Alarm Logs Logged Date Time should be retrieved
165 | AlarmLogsLoggedDescription |  |  |  | Retrieve Alarm Logs Description | Alarm Logs Description should be retrieved
166 | Wait |  |  | 1 | Wait | Waiting is done successfully
167 | VerifyAlarmLogs |  |  |  | Should verify alarm logs | Alarm Logs should be verified | 94,164,165
168 | Wait |  |  | 1 | Wait | Waiting is done successfully
169 | ExecuteSSHCommands |  |  | writeRtuTable 2 373 500 | Execute Shell Scrip command | Shell script command is executed
170 | Wait |  |  | 2 | Wait | Waiting is done successfully
171 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
172 | VerifyElementIsPresent | ByName | DASHBOARD |  | Verify Configurations menu | Configurations menu is verified successfully
173 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
174 | Wait |  |  | 1 | Wait | Waiting is done successfully
175 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
176 | VerifyElementIsPresent | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Verify Configurations menu | Configurations menu is verified successfully
177 | Click | ByName | DASHBOARD_ALARM_STATUS_TAB |  | Click on Configurations menu | Configurations menu should be clicked
178 | Wait |  |  | 1 | Wait | Waiting is done successfully
179 | SwitchFrameByXpath | ByID | FRAME_2 |  | GEM25 frame should switch | GEM25 frame should be switched
180 | VerifyDashboardAlarm |  |  |  | Alarm is verified in Dashboard | Alarm should be verified in dashboard | 19
181 | GetText | MergeByXpath | DASHBOARD_ALARM_NOT_TRIGGERED_STATUS,DASHBOARD_ALARM_NOT_TRIGGERED_STATUS_1 |  | Retrieve Alarm status page Reversed alarm off time | Alarm status page Reversed alarm off time should be retrieved | 19
182 | GetText | MergeByXpath | DASHBOARD_ALARM_ID,DASHBOARD_ALARM_ID_1 |  | Retrieve Alarm status page ID | Alarm status page ID should be retrieved | 19
183 | GetText | MergeByXpath | DASHBOARD_ALARM_ENABLED,DASHBOARD_ALARM_ENABLED_1 |  | Retrieve Alarm status page Reversed Enabled date/Time | Alarm status page Reversed Enabled Date/Time should be retrieved | 19
184 | GetText | MergeByXpath | DASHBOARD_ALARM_DESCRIPTION,DASHBOARD_ALARM_DESCRIPTION_1 |  | Retrieve Alarm status page Description | Alarm status page Description should be retrieved | 19
185 | GetText | MergeByXpath | DASHBOARD_ALARM_STATUS,DASHBOARD_ALARM_STATUS_1 |  | Retrieve Alarm status page Reversed alarm status | Alarm status page Reversed alarm status should be retrieved | 19
186 | GetText | MergeByXpath | DASHBOARD_ALARM_TRIGGERED_DATE_TIME,DASHBOARD_ALARM_TRIGGERED_DATE_TIME_1 |  | Retrieve Alarm status page Reversed details | Alarm status page Reversed details should be retrieved | 19
187 | GetText | MergeByXpath | DASHBOARD_ALARM_ACTIVE_DURATION,DASHBOARD_ALARM_ACTIVE_DURATION_1 |  | Retrieve Alarm status page active duration | Alarm status page Active duration should be retrieved | 19
188 | GetText | MergeByXpath | DASHBOARD_ALARM_OFF_TIME,DASHBOARD_ALARM_OFF_TIME_1 |  | Retrieve Alarm status page alarm off time | Alarm status page alarm off time should be retrieved | 19
189 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
190 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
191 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
192 | Wait |  |  | 1 | Wait | Waiting is done successfully
193 | Click | ByName | INTANTANEOUS_VALUES_PAGE |  | Click on Instantaneous value menu | Instantaneous value menu should be clicked
194 | Wait |  |  | 2 | Wait | Waiting is done successfully
195 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
196 | VerifyElementIsPresent | ByName | IO_VALUES_TAB |  | Verify IO Values tab | IO Values tab is verified successfully
197 | Click | ByName | IO_VALUES_TAB |  | Click on IO Values tab | IO Values tab should be clicked
198 | Wait |  |  | 2 | Wait | Waiting is done successfully
199 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Verify Relay Output Before drive status | Relay Output Before drive status is verified successfully | 37
200 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_1 |  | Retrieve Relay Output Before drive status | Relay Output Before drive status should be retrieved | 37
201 | VerifyElementIsPresent | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Verify Relay Output Before drive Button | Relay Output Before drive Button is verified successfully | 37
202 | GetText | MergeByXpath | INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON,INSTANT_PAGE_RELAY_OUTPUT_BEFORE_ACTION_BUTTON_1 |  | Retrieve Relay Output Before drive Button | Relay Output Before drive Button should be retrieved | 37
203 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
204 | Click | ByName | DASHBOARD |  | Click on Configurations menu | Configurations menu should be clicked
205 | VerifyElementIsPresent | ByName | MONITORING_LOG_MENU |  | Verify Monitoring Logs menu | Monitoring Logs menu is verified successfully
206 | Click | ByName | MONITORING_LOG_MENU |  | Click on Monitoring Logs menu | Monitoring Logs menu should be clicked
207 | Wait |  |  | 2 | Wait | Waiting is done successfully
208 | Click | ByName | LOG_VALUES_SUBMENU |  | Click on Log Values sub menu | Log Values sub menu should be clicked
209 | Wait |  |  | 1 | Wait | Waiting is done successfully
210 | Click | ByName | ALARM_LOGS_SUBMENU |  | Click on Alarm Logs menu | Alarm Logs menu should be clicked
211 | Wait |  |  | 2 | Wait | Waiting is done successfully
212 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
213 | GetWindowHandle | ByID | ALARM_START_DATE_BUTTON |  | Click on Start date button | Start date button should be clicked
214 | ClearAndType | ByName | ALARM_START_DATE_HOUR | 01 | Type hour | Hour should be typed
215 | ClearAndType | ByName | ALARM_START_DATE_MINUTES | 00 | Type Minute | Minute should be typed
216 | ClearAndType | ByName | ALARM_START_DATE_SECONDS | 00 | Type Seconds | Seconds should be typed
217 | Wait |  |  | 2 | Wait | Waiting is done successfully
218 | Click | ByXPath | ALARM_START_DATE |  | Click on Start date | Start date should be clicked
219 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
220 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
221 | GetWindowHandle | ByID | ALARM_END_DATE_BUTTON |  | Click on End date button | End date button should be clicked
222 | Wait |  |  | 2 | Wait | Waiting is done successfully
223 | Click | ByXPath | ALARM_END_DATE |  | Click on End date | End date should be clicked
224 | SwitchToDefaultWindow |  |  |  | Should switch default window | Default window should be switched
225 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
226 | Wait |  |  | 1 | Wait | Waiting is done successfully
227 | SelectByVisibleText | ByID | ALARM_LOGS_PAGE_ALIAS_NAME |  | Select alias name | Alias name should be selected | 19
228 | Wait |  |  | 2 | Wait | Waiting is done successfully
229 | Click | ByID | ALARM_LOG_FETCH_BUTTON |  | Click on Alarm log fetch button | Alarm log fetch button should be clicked
230 | WaitForAlarmLogs |  |  |  | Should display alarm logs | Alarm logs should be displayed
231 | SwitchToDefaultFrame |  |  |  | Should switch default frame | Default frame should be switched
232 | SwitchFrameByXpath | ByID | FRAME_1 |  | GEM25 frame should switch | GEM25 frame should be switched
233 | Wait |  |  | 2 | Wait | Waiting is done successfully
234 | LogCount |  |  |  | Retrieve Alarm logs Count | Alarm logs count should be retrieved
235 | VerifyAlarmLoggedDateTime |  |  |  | Verify Alarm Logs Logged Date Time | Alarm Logs Logged Date Time is verified successfully | 188
236 | Wait |  |  | 1 | Wait | Waiting is done successfully
237 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Verify Alarm Logs Reversed Logged Alias name | Alarm Logs Reversed Logged Alias name is verified successfully | 234,19
238 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_NAME,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Reversed Alias name | Alarm Logs Reversed Alias name should be retrieved | 234,19
239 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Verify Alarm Logs Reversed Alarm Type | Alarm Logs Reversed Alarm Type is verified successfully | 234,14
240 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_TYPE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Reversed Alarm Type | Alarm Logs Reversed Alarm Type should be retrieved | 234,14
241 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Verify Alarm Logs Reversed Alarm Source | Alarm Logs Reversed Alarm Source is verified successfully | 234,25
242 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_SOURCE,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Reversed Alarm Source | Alarm Logs Reversed Alarm Source should be retrieved | 234,25
243 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT1 | Verify Alarm Logs Reversed Alarm channel | Alarm Logs Reversed Alarm channel is verified successfully | 234
244 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_CHANNEL,ALARM_LOGS_LAST | RS485_PORT1 | Retrieve Alarm Logs Reversed Alarm channel | Alarm Logs Reversed alarm channel should be retrieved | 234
245 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Verify Alarm Logs Reversed log level | Alarm Logs Reversed log level is verified successfully | 234
246 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_LEVEL,ALARM_LOGS_LAST | crit | Retrieve Alarm Logs Reversed log level | Alarm Logs Reversed leg level should be retrieved | 234
247 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Verify Alarm Logs Reversed alarm action | Alarm Logs Reversed alarm action status is verified successfully | 234,39
248 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_ACTION,ALARM_LOGS_LAST |  | Retrieve Alarm Logs Reversed alarm action | Alarm Logs Reversed alarm action should be retrieved | 234,39
249 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 500 | Verify Alarm Logs Reversed alarm value | Alarm Logs Reversed alarm value status is verified successfully | 234
250 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_VALUE,ALARM_LOGS_LAST | 500 | Retrieve Alarm Logs Reversed alarm value | Alarm Logs Reversed alarm value should be retrieved | 234
251 | VerifyElementIsPresent | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | Volt | Verify larm Logs Reversed alarm unit | larm Logs Reversed alarm unit status is verified successfully | 234
252 | GetText | MergeBy2Xpath | ALARM_LOGS_START,ALARM_LOGS_UNIT,ALARM_LOGS_LAST | Volt | Retrieve Alarm Logs Reversed alarm unit | Alarm Logs Reversed alarm unit should be retrieved | 234
253 | VerifyElementIsPresent | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_OFF |  | Verify larm Logs Reversed description | larm Logs Reversed alarm description is verified successfully | 234
254 | GetText | MergeByXpath | ALARM_LOGS_START,ALARM_LOGS_DESCRIPTION_OFF |  | Retrieve Alarm Logs Reversed description | Alarm Logs Reversed alarm description should be retrieved | 234
255 | AlarmLogsLoggedDateTime |  |  |  | Retrieve Alarm Logs Reversed Date Time | Alarm Logs Reversed Date Time should be retrieved
256 | AlarmLogsLoggedDescription |  |  |  | Retrieve Alarm Logs Description | Alarm Logs Description should be retrieved
257 | Wait |  |  | 1 | Wait | Waiting is done successfully
258 | VerifyAlarmLogsTriggeredOff |  |  |  | Should verify alarm logs | Alarm Logs should be verified | 188,256
259 | Wait |  |  | 1 | Wait | Waiting is done successfully

## DataList
LocateBy | GetUrl
ByID | NavigateToURL
ByName | Wait
ByOrName | WaitTime
ByXPath | Maximize
ByLinkText | Click
ByTagName | ActionClick
ByClassName | JsClick | Normal Xpath
ByCssSelector | DoubleClick
ByPartialLinkText | ClickAt
MergeByXpath | ClickAndHold
MergeXpath | Clear
Xpath | Type
MergeBy2Xpath | ClearAndType
ActionType
TypeDynamicValue
TypeDynamicMinimumValue
Submit
MouseOver
MouseOverAndClick
GetText
GetAttribute
| GetCount | Normal Xpath
GetCurrentURL
SelectCheckBox
SelectByIndex
SelectByValue
SelectByVisibleText
DeSelectCheckBox
DeSelectByIndex
DeSelectByValue
DeSelectByVisibleText
SwitchFrameByName
SwitchFrameByIndex
SwitchFrameByXpath
SwitchFrame
SwitchToDefaultFrame
Refresh
Back
Forward
AlertOk
DismissAlert
AlertDismiss
PromptBox
GenerateAlert
Close
GetWindowHandle
SwitchToDefaultWindow
SwitchToDefaultContent
GetAutoIt
ScrollDown
ScrollUp
ScrollBottom
KeyboardPageUp
KeyboardPageDown
KeyboardEnd
KeyboardTab
PageMaximize
Enter
KeyboardArrowUp
KeyboardArrowDown
KeyboardArrowLeft
KeyboardArrowRight
Drag
Drop
VerifyElementIsSelected
VerifyElementIsPresent
VerifyElementIsNotPresent
VerifyElementIsEnable
WaitUntilVisibilityOfElement
| WaitUntilInvisibilityOfElement | Normal Xpath
VerifyTextIsPresent
| WaitUntilTextToBeNotPresent | Normal Xpath
WaitUntilTextToBePresent
WaitUntilElementToBeClickable
WaitUntilElementToBeSelected
TextToBePresentInElementValue
| WaitForElementPresent | Normal Xpath
| WaitForElementNotPresent | Normal Xpath
CheckTwoString
DeleteAllCookies
TakeScreeShot
Highlight
NewTab
CloseTab
Gem25Login
EnableAlarm
VerifyDashboardAlarm
AlertAccept
ExecuteSSHCommands
AlarmLogsLoggedDateTime
AlarmLogsLoggedDescription
VerifyAlarmLogs
WaitForAlarmLogs
ExecuteGem25BoardsshCommands
DisableAlarm
EditAlarm
VerifyAlarmLoggedDateTime
SelectDashboardAlarm
LogCount
VerifyAlarmLogsTriggeredOff